|  |  |  | ### Operating instructions |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ##### Work equipment – Equipment – Apparatus - Device |  |  |  |  |  |  |
| Confocal Laser Scanning Microscope |  |  |  |  |  |  |
| ##### Dangers for humans and the environment |  |  |  |  |  |  |
|  | - Danger due to laser light |  |  |  |  |  |
| ## Protective measures and rules of conduct |  |  |  |  |  |  |
| - Commissioning via the central connector strip (left of the microscope) - Turn on the computer and microscope - Manually switch on He Ne or argon laser - In normal operation, the laser beam is enclosed by a housing - Coupled directly into the microscope and can not reach the eye - Switch off the laser by means of a key; then turned on for about 5 minutes - Leave until the fan turns off. Then switch off completely (, 0 ') - Switch off microscope and computer - Then switch the central power strip to '0'. |  |  |  |  |  |  |
| ## Faults and dangers |  |  |  |  |  |  |
|  |  | - The housing of the laser must not be removed |  |  |  |  |
| ## Accidents and First Aid |  |  |  |  |  |  |
|  |  | - Rinse open wound, allow to bleed if possible and immediately with - Spray the disinfectant, if necessary, add the disinfectant and refill - Allow to act for at least 30 minutes. - If necessary, alert first responder, ambulance or doctor. Supervisor - inform (if necessary entry in the book of associations |  |  |  |  |
| ## Tests – Maintenance - Disposal |  |  |  |  |  |  |
| - Maintenance and repair work may only be carried out with the written permission of Laboratory manager. - Allow to act for at least 30 minutes. - If necessary, alert first responder, ambulance or doctor. - Supervisor inform (if necessary entry in the book of associations) .. Änderung vorschlagen Übersetzung teilen |  |  |  |  |  |  |
| ##### Signatures |  |  |  |  |  |  |
| Supervisor: Signature: Town: Date: |  |  |  |  |  |  |