|  | Operating instructions |  |
| --- | --- | --- |
| Work equipment – Equipment – Apparatus - Device |
| Confocal Laser Scanning Microscope |
| Dangers for humans and the environment |
|  | Danger due to laser light |
| Protective measures and rules of conduct |
| Commissioning via the central connector strip (left of the microscope) Turn on the computer and microscope Manually switch on He Ne or argon laser In normal operation, the laser beam is enclosed by a housing Coupled directly into the microscope and can not reach the eye Switch off the laser by means of a key; then turned on for about 5 minutes Leave until the fan turns off. Then switch off completely (, 0 ') Switch off microscope and computer Then switch the central power strip to '0'. |  |
| Faults and dangers |
|  | The housing of the laser must not be removed |  |
| Accidents and First Aid |
|  | Rinse open wound, allow to bleed if possible and immediately with Spray the disinfectant, if necessary, add the disinfectant and refill Allow to act for at least 30 minutes. If necessary, alert first responder, ambulance or doctor. Supervisor inform (if necessary entry in the book of associations |  |
| Tests – Maintenance - Disposal |
| Maintenance and repair work may only be carried out with the written permission of Laboratory manager. Allow to act for at least 30 minutes. If necessary, alert first responder, ambulance or doctor. Supervisor inform (if necessary entry in the book of associations) .. Änderung vorschlagen Übersetzung teilen |
| Signatures |
| Supervisor: Signature: Town: Date: |  |