|  |  |  | ### Operating instructions |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ##### Technical Equipment – Devive – Machine - Tool |  |  |  |  |  |  |
| Cutting tools |  |  |  |  |  |  |
| ##### Environmetal and health Hazards |  |  |  |  |  |  |
|  | - Danger of cutting accidents |  |  |  |  |  |
| ## Safety Precautions |  |  |  |  |  |  |
|  |  | - Do not leave blades and knives lie about unattended - Do not throw blades into garbage bin – cleaning persons may hurt themselves - If cutting under water, change water frequently - If carrying knives and blades, do not run and hold them with the blade facing the floor |  |  |  | - pE |
| ## Malfunction and associated risks |  |  |  |  |  |  |
|  |  | - Rusty or non-honed cutting devices will work less reliably and thus provoke accidents |  |  |  |  |
| ## In the event of an accident |  |  |  |  |  |  |
|  |  | - Clean open wounds and apply disinfectant - If necessary call a doctor - Inform the working group leader |  |  |  |  |
| ## Serving – Maintenance - Disposal |  |  |  |  |  |  |
| - Hone carving knives prior to use - Dry blades, knives and secateurs after use in water and keep dry - Use a cut resistant pad for cutting - If blades do not cut properly, discard them immediately - Do not throw blades in garbage bin – collect them in container for broken glass and blades |  |  |  |  |  |  |
| ##### Signatures |  |  |  |  |  |  |
| Group leader / Supervisor: Signature: Town: Date: |  |  |  |  |  |  |