|  | ### Operating instructions |  |  |
| --- | --- | --- | --- |
| ##### Disposal |  |  |  |
| Disposal of hazardous waste |  |  |  |
| ##### Purpose |  |  |  |
| Compliance with waste legislation requirements for the disposal of hazardous waste. Any changes in the disposal of hazardous waste should be agreed with the waste manager. |  |  |  |
| ##### Generals |  |  |  |
| - The areas where hazardous waste is disposed of for disposal must always be kept under lock and key; they may only be expressly accessible to authorized persons. • Containers / containers must always be closed and stored on or in drip pans. • Original sealed containers / containers are to be marked. • Escape and rescue routes must not be obstructed and must always be kept clear. • Only properly labeled containers / containers may be stored. • The provision of waste containers may only be carried out in consultation with the waste officer and the safety experts. • Joint storage bans are to be observed, i. e.g. no storage of substances that could react with each other on a common sump or in the common sump. • The maximum total storage quantity to be determined with the waste manager or safety experts. • Unnecessary fire loads (such as packaging) should be avoided. |  |  | - pE |
| ##### External disposal operations |  |  |  |
| The person in charge reports the disposal needs in writing to the Facility Management / Waste Management Officer. The latter then commissions the contractually bound disposal specialist to pick up the special waste provided. The transfer of hazardous waste is under constant supervision. The persons responsible for the transfer check the waste acceptance / accompanying note for completeness: • entered correct waste generator number? • entered correct waste code number? • entered correct amount of waste? After verification, we signed the takeover / consignment note. The copy intended for the waste producer is forwarded to the Facility Management / Waste Officer. Mehr anzeigen Weniger anzeigen |  |  |  |
| ##### Internal disposal operations |  |  |  |
| For internal disposal, the permissible discharge of chemicals resulting from analyzes carried out in the laboratory and not disposed of as hazardous waste, as they may be discharged via the wastewater path after pre-treatment (for example neutralization), shall be designated. Internal disposal operations may only be carried out in exceptional cases and only by trained specialist personel. |  |  |  |
| ##### Self-cheking, monitoring and testing |  |  |  |
| Constant monitoring of the proper condition and tightness of the containers. • Constant monitoring of required safety equipment. • Waste delivery is subject to supervisor compliance with the above mentioned quantity restrictions. |  |  |  |
| ##### Response to malfunctions |  |  |  |
| - In the event of faults / leaks, inform the supervisor immediately. - In the event of a fire, immediately inform the responsible Fire Safety Officer / Facility Management at 72200 or call the Fire Brigade Emergency 122. - Collect small leaks or spills with binder and dispose of properly. |  |  |  |
| ##### Special regulations |  |  |  |
| Only perform filling and emptying operations in drip pans. Collect dripping liquids. When handling flammable liquids: If necessary, ground the container during filling and emptying procedures. If necessary, take other measures for explosion protection. |  |  |  |
| ##### Signatures |  |  |  |
| Supervisor: Signature: Town: Date: |  |  |  |