|  |  | ### Operating instructions |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ##### Work equipment – Equipment – Apparatus - Device |  |  |  |  |  |
| Electrical installations, equipment and lines in the office and in the laboratoryMehr anzeigen Weniger anzeigen |  |  |  |  |  |
| ##### Dangers for humans and the environment |  |  |  |  |  |
|  | CAUTION – ELECTRICITY - Risk of fire due to defective electrical cables - Risk of electric shock, device must not get wet during operation. - Danger to life due to electric current during electric shock. - Health consequences (possibly time-delayed): Injuries, burns, damage to internal organs, cramps, respiratory arrest, cardiac arrhythmia, ventricular fibrillation, cardiac arrest and internal burns. - In principle, all devices may only be used in accordance with the instructions in the manual and after proven training. Protectid rules of conduct - Eating, drinking or smoking is prohibited in all laboratory facilities! - Safety data sheets and operating instructions for the respective working substances, chemicals and methods must be verifiably read and adhered to. - Before using a new device, read and follow the instructions for use. - Familiarize yourself with the safety features before starting work, especially with the location of the EMERGENCY STOP switch or fuse. - Before use, check the electrical equipment , equipment and wiring for proper condition. - Report damage and unusual conditions immediately to supervisors and professionals. Do not use the devices and secure against unintentional operation. - Only operate electrical devices on correct protective contacts. - Do not handle unsecured cables and device components. - Existing safety devices – Use fuses. - All cables must be insulated. - DO not lay cables over traffic routes and do not use cable bridges. |  |  |  |  |
|  | - Do not hang objects on electric cables. - Do not pull the plug out of the socket by the connecting cable. - Do not connect multiple sockets in a row, do not overload extension lines. - Lay the cables in such a way that squashing points or damage caused by sharp edges are avoided. - Do not use devices when wet, even with wet hands. - Before switching on an electrical appliance, make sure that all safety measures have been taken. - Do not carry out any repairs on electrical devices, systems or devices yourself - Only use the original power plugs for the respective device. - Personal protective equipment Depending on the risk potential of the work or method to be performed on the device, the PSA must be connected! • lab coat • Protective gloves • Safety goggles |  |  |  | - pE |
| ## Faults and dangers |  |  |  |  |  |
|  | - In case of visible damage, do not operate the device. - In the event of a fault, immediately unplug the power cord and switch off the fuse. - Inform superiors. - Repair and repair must be carried out exclusively by specialist workshop or customer service. |  |  |  |  |
| ## Accidents and First Aid |  |  |  |  |  |
|  | - Before starting work, find out where bandages, fire blankets, etc. are stored. - First self-protection - secure device, system, accident site. - Do not touch the device - Switch off the fuse - Never touch a person who has electric current flowing through them. - Provide first aid. Cool burns with water, immediately initiate cardiopulmonary resuscitation - if there is no breathing and no pulse. - If there is no respiratory and circulatory arrest, bring the victim to the stable side position - Report an accident by emergency call - Inform first responders, security specialists and supervisors - Seek medical attention even in the event of an apparently electric shock! In case of fire: keep calm! Pay attention to self-protection! Call fire department over 122! Employees warn! Combat fire with powder, CO2 or foam extinguishers! |  |  |  |  |
| ## Tests – Maintenance - Disposal |  |  |  |  |  |
| - Maintenance and repair work may only be carried out with the permission of the working group management. - Repair and repair must be carried out exclusively by specialist workshop or customer service - Disposal via waste collection points or specialist dealers. |  |  |  |  |  |
| ##### Signatures |  |  |  |  |  |
| Supervisor: Signature: Town: Date: |  |  |  |  |  |