|  | Operating instructions |  |
| --- | --- | --- |
| Work equipment – Equipment – Apparatus - Device |
| Electrical installations, equipment and lines in the office and in the laboratoryMehr anzeigen Weniger anzeigen |
| Dangers for humans and the environment |
|  | CAUTION – ELECTRICITY Risk of fire due to defective electrical cables Risk of electric shock, device must not get wet during operation. Danger to life due to electric current during electric shock. Health consequences (possibly time-delayed): Injuries, burns, damage to internal organs, cramps, respiratory arrest, cardiac arrhythmia, ventricular fibrillation, cardiac arrest and internal burns. In principle, all devices may only be used in accordance with the instructions in the manual and after proven training. Protectid rules of conduct Eating, drinking or smoking is prohibited in all laboratory facilities! Safety data sheets and operating instructions for the respective working substances, chemicals and methods must be verifiably read and adhered to. Before using a new device, read and follow the instructions for use. Familiarize yourself with the safety features before starting work, especially with the location of the EMERGENCY STOP switch or fuse. Before use, check the electrical equipment , equipment and wiring for proper condition. Report damage and unusual conditions immediately to supervisors and professionals. Do not use the devices and secure against unintentional operation. Only operate electrical devices on correct protective contacts. Do not handle unsecured cables and device components. Existing safety devices – Use fuses. All cables must be insulated. DO not lay cables over traffic routes and do not use cable bridges. |
|  | Do not hang objects on electric cables. Do not pull the plug out of the socket by the connecting cable. Do not connect multiple sockets in a row, do not overload extension lines. Lay the cables in such a way that squashing points or damage caused by sharp edges are avoided. Do not use devices when wet, even with wet hands. Before switching on an electrical appliance, make sure that all safety measures have been taken. Do not carry out any repairs on electrical devices, systems or devices yourself Only use the original power plugs for the respective device. Personal protective equipment Depending on the risk potential of the work or method to be performed on the device, the PSA must be connected! • lab coat • Protective gloves • Safety goggles | pE |
| Faults and dangers |
|  | In case of visible damage, do not operate the device. In the event of a fault, immediately unplug the power cord and switch off the fuse. Inform superiors. Repair and repair must be carried out exclusively by specialist workshop or customer service. |  |
| Accidents and First Aid |
|  | Before starting work, find out where bandages, fire blankets, etc. are stored. First self-protection - secure device, system, accident site. Do not touch the device Switch off the fuse Never touch a person who has electric current flowing through them. Provide first aid. Cool burns with water, immediately initiate cardiopulmonary resuscitation if there is no breathing and no pulse. If there is no respiratory and circulatory arrest, bring the victim to the stable side position Report an accident by emergency call Inform first responders, security specialists and supervisors Seek medical attention even in the event of an apparently electric shock! In case of fire: keep calm! Pay attention to self-protection! Call fire department over 122! Employees warn! Combat fire with powder, CO2 or foam extinguishers! |  |
| Tests – Maintenance - Disposal |
| Maintenance and repair work may only be carried out with the permission of the working group management. Repair and repair must be carried out exclusively by specialist workshop or customer service Disposal via waste collection points or specialist dealers. |
| Signatures |
| Supervisor: Signature: Town: Date: |  |