|  | ### Operating instructions |  |  |
| --- | --- | --- | --- |
| ##### Disposal |  |  |  |
| Equipment contaminated |  |  |  |
| ##### Contaminated resources |  |  |  |
| (e.g., filter materials, wipes, silica gels, activated charcoal, small empty metal and plastic containers with chemical stains, pipettes, gloves, TLC plates, films, microbiological culture media, electrophoresis containing ethidium bromide) Änderung vorschlagen Übersetzung teilen |  |  |  |
| ##### Contaminated solids |  |  |  |
| (e.g. silica gel, TLC-plates, celite, contaminated gloves or glassware, charcoal, ethidiumbromide contaminates gels, empty contaminated chemical bottles, pipettes, needles and syringes) |  |  | - pE |
| ##### Clippings |  |  |  |
| The following substances may not be collected together with this type of waste: • liquids or pasty substances, solutions • old laboratory chemicals • Mercury-containing waste • aerosols, cans • Glass, ceramics, except small parts |  |  |  |
| ##### Signatures |  |  |  |
| Supervisor: Signature: Town: Date: |  |  |  |