|  | ### Operating instructions |  |  |
| --- | --- | --- | --- |
| ##### Disposal |  |  |  |
| Solvent halogen-containing |  |  |  |
| ##### Contaminated resources |  |  |  |
| Halogenated organic solvents, washing liquids and mother liquors (all halogenated organic solvents, but also non- halogenated organic solvents with dissolved chlorine and other halogen compounds) |  |  |  |
| Contaminated solids |  |  |  |
| Halogenated Organic Solvents (e.g. dichloromethane, chloroform,..) |  |  | - pE |
| ##### Clippings |  |  |  |
| NOT to be collected together with this waste type: - oxidizing compounds - acids and bases - non halogenated solvents |  |  |  |
| ##### Signatures |  |  |  |
| Supervisor: Signature: Town: Date: |  |  |  |